# Slide 1 — Title

What to say:

Good morning/afternoon, ma’am. Thank you very much for giving me this opportunity to present our work.

I’m Prosenjit Mondol studying 4th year undergraduate in computer science and engineering at Patuakhali science and technology university, now I am presenting our work titled “A Sensitivity-Gated Cascade for Compute-Efficient Spinal Lesion Detection in Resource-Constrained Settings.”

This work was developed by me together with my co-authors, Samrat Kumar Dey and Arpita Howlader.

This is our MIRASOL workshop paper for MICCAI 2026, and today I would like to explain the motivation behind the work, our proposed method, the experimental results, and also some of the limitations and future directions.

# Slide 2 — Research Motivation

What to say:

Let me start with the motivation.

Spinal radiographs are an important screening tool for many spinal problems because they are relatively accessible.

But interpreting these images is not easy. A radiologist has to understand complex three-dimensional spinal anatomy from a two-dimensional image.

Some lesions are very small and can occupy less than one percent of the image area. At the same time, different anatomical structures can overlap with each other, making subtle abnormalities difficult to recognize.

Another important problem is the strong imbalance in the dataset. Some lesions are very common like Osteophytes, while some rare lesions have very few examples like Vertebral Collapse.

Finally, in a resource-constrained environment, from a development standpoint, many middle- and lower-income countries clinics cannot run computationally heavy object detectors on every incoming screening X-ray.

So, we wanted to build a system that considers sensitivity, localization, and computational efficiency together.

E.N: - 7 lesions are: - Vertebral Collapse, Osteophytes, Spondylolisthesis, Surgical Implants, Disc Space Narrowing, Foraminal Stenosis, Other lesions

# Slide 3 — Research Gap

What to say:

After studying the existing approaches, we identified several limitations.

The VinDr-SpineXR dataset provides a strong multi-lesion benchmark, but the class distribution is highly imbalanced.

There are also systems designed for individual diseases, but they do not provide broad multi-lesion screening.

Traditional one-stage and two-stage object detectors can also struggle when lesions are both very small and rare.

Vision Transformer-based approaches can be powerful, but training them efficiently on relatively small and imbalanced spinal datasets can be challenging.

Focal-loss-based methods already help with difficult examples, but our observation was that rare and minute lesions still require stronger architectural prioritization.

So, our approach combines high-sensitivity triage, customized localization, imbalance handling, explainability, and staged computation in one framework.

# Slide 4 — Clinical & Technical Challenges

What to say:

Here I summarize the main challenges that directly influenced our design.

The first challenge is the sensitivity versus specificity problem.

A single monolithic model has to decide whether an image is abnormal and at the same time identify and localize the exact lesions.

The second challenge is extreme class imbalance. Osteophytes dominate the dataset, while rare categories have much fewer annotations.

The third challenge is computational cost.

Our detailed YOLO11-L detector is much more expensive than the initial screening stage. So, running it on every single image would not be ideal for a constrained environment.

That leads to the main design idea of our paper:

screen first, localize second.

# Slide 5 — Research Objective & Contributions

What to say:

Based on these challenges, our main objective was to create a sensitivity-gated cascade.

First, we quickly identify whether a radiograph is likely to be abnormal. Then, only for abnormal cases, we perform detailed lesion localization.

We made five main design decisions.

First, we use DERNet as a sensitivity-gated triage model.

we use a customized YOLO11-L for minute-lesion localization.

and use focal loss and copy-paste augmentation to address the severe class imbalance.

we use three explainability methods: Saliency Map, Grad-CAM, and LIME.

And finally, we use compute-aware routing so that normal studies can exit the pipeline early.

# Slide 6 — VinDr-SpineXR Dataset

What to say:

Now let me describe the dataset.

We used the VinDr-SpineXR benchmark.

The dataset contains 10,466 radiographs, including 8,389 training images and 2,077 independent test images.

There are seven lesion categories in total.

These are Vertebral Collapse, Osteophytes, Spondylolisthesis, Surgical Implants, Disc Space Narrowing, Foraminal Stenosis, and Other.

The lesions are visually very different from each other, and some of them occupy only a very small part of the image.

For model development, we used five-fold cross-validation, and the independent test set was used for final evaluation.

# Slide 7 — Lesion Distribution & Class Imbalance

What to say:

This slide shows why class imbalance is such an important issue in our work.

Osteophytes are the dominant category, representing 82.1 percent of the annotated boxes, with 12,556 boxes.

In contrast, Vertebral Collapse is one of the rare categories, with only 268 annotations, representing about 1.8 percent.

This gives us a maximum-to-minimum imbalance ratio of approximately 46.9 to 1.

So, if we simply train a detector normally, there is a strong possibility that the common class will dominate the learning process.

That is why we explicitly use focal loss and copy-paste augmentation later in the pipeline.

# Slide 8 — Proposed Cascaded Framework

What to say:

This is the central idea of the whole paper.

Our framework contains three major parts.

First is adaptive preprocessing, where the raw radiograph is prepared for the models.

Second is Stage 1, DERNet, which performs image-level abnormality screening.

Third is Stage 2, YOLO11-L, which performs detailed lesion localization.

The important point is that the two models do not perform exactly the same task.

DERNet is responsible for deciding whether further analysis is needed.

If a study is considered normal, we stop there.

If it is considered abnormal, we pass it to YOLO11-L for detailed localization.

So, the paper is fundamentally based on what we call structural decoupling: screening and localization are separated instead of being forced into one monolithic model.

# Slide 9 – Architecture of cascade framework

# This diagram illustrates the complete end-to-end data flow.

# Slide 10 — Adaptive Preprocessing: CLAHE

What to say:

Before the images are passed into the models, we apply adaptive preprocessing using CLAHE, or Contrast Limited Adaptive Histogram Equalization.

The reason is that radiographs from different environments can have different exposure and contrast characteristics.

We use an 8 by 8 tile grid, dynamic range scaling with beta equal to 255, and a clip limit of 2.0.

The basic purpose is to improve local contrast while preventing excessive amplification of noise.

This gives the downstream models a more consistent input representation.

So CLAHE is not intended to create new information. It is mainly used to reduce variation in image appearance before classification and detection.

# — Why Standard Equalization Fails

What to say:

This slide explains why we preferred CLAHE instead of simple global histogram equalization.

Global equalization treats the whole image in the same way.

For X-ray images, this can unintentionally enhance background scatter and bone marrow noise.

That can create structures that may look like lesions and increase false positives.

CLAHE works locally, so it can improve micro-contrast around important structures such as cortical bone margins.

This is particularly useful when we are trying to detect very small findings like subtle osteophytes or disc-space changes.

So preprocessing is important because even before model architecture, the quality and consistency of the input can affect what the network learns.

# Slide 11 — Stage 1: DERNet Heterogeneous Ensemble

What to say:

Now we move to the first model, DERNet.

DERNet is a heterogeneous ensemble of three CNN backbones.

They are DenseNet121, EfficientNetV2-S, and ResNet50.

Instead of selecting only one backbone, we combine their predictions at the probability level.

Each model has a different role.

DenseNet121 receives the highest weight of 0.42 and contributes mainly to textural sensitivity and subtle abnormalities.

EfficientNetV2-S has a weight of 0.32 and provides stronger false-positive control.

ResNet50 has a weight of 0.26 and works as a recall-oriented fail-safe.

So the goal is not simply to use three models. The goal is to combine three different error behaviors.

# Slide 12 — DERNet Soft Voting & Threshold

What to say:

After the three models generate their probabilities, we combine them using weighted soft voting.

The ensemble probability is:

0.42 times DenseNet probability, plus 0.32 times EfficientNet probability, plus 0.26 times ResNet probability.

We then need a decision threshold.

We searched the threshold from 0.35 to 0.60, using a step size of 0.0002, and selected the threshold that maximized cross-validation F1.

The presentation uses an optimal threshold of approximately 0.4787.

So if the ensemble probability is above the threshold, we flag the image as abnormal and route it to YOLO11-L.

If it is below the threshold, we consider it normal and exit the pipeline early.

This is the actual mechanism that creates the sensitivity-gated behavior of the system.

# Slide 13 — Backbone Complementarity & Ablation

What to say:

This slide shows why each model is actually useful in the ensemble.

DenseNet121 receives the largest weight because of its contribution to subtle textural abnormalities.

When EfficientNetV2-S is removed, the number of false positives increases by 19 and specificity decreases by about 1.78 percentage points.

This supports its role in false-positive control.

When ResNet50 is removed, false negatives increase by 20 and sensitivity decreases by about 1.99 percentage points.

So ResNet50 provides a kind of recall safety net.

This tells us that the ensemble is not just averaging three models randomly. Each backbone contributes something different to the final decision.

# Slide 14 — Stage 2: Customized YOLO11-L

What to say:

Once DERNet flags an image as abnormal, we move to Stage 2.

Here we use a customized YOLO11-L for fine-grained lesion localization.

There are three main parts I want to highlight.

First, the backbone uses CSP-Darknet with C2PSA spatial attention.

Second, the neck uses PANet for multi-scale feature fusion.

Third, the detection head uses three spatial resolutions: 80 by 80, 40 by 40, and 20 by 20.

The idea is to preserve enough spatial detail to detect very small lesions.

According to our design, some target lesions can occupy less than 0.25 percent of the field of view, which can correspond to smaller than roughly 32 by 32 pixels at a 640 by 640 input.

So preserving spatial information is extremely important.

# Slide 15 — Multi-Scale Detection

What to say:

This slide explains why we use three detection resolutions.

The 80 by 80 N3 feature map provides the finest spatial detail. This is especially useful for very small lesions.

The 40 by 40 N4 feature map provides intermediate-scale context.

The 20 by 20 N5 feature map provides broader anatomical context and is more suitable for larger abnormalities.

So the three scales have complementary roles.

The important point is that no single spatial resolution is ideal for every spinal lesion.

By using the three together, we try to balance precise localization with broader anatomical context.

# Slide 16 — Loss Design & Copy-Paste Augmentation

What to say:

Because of the strong class imbalance, we also modified the training strategy.

We use focal loss with gamma equal to 2.0 and alpha equal to 0.25.

The main purpose of focal loss is to reduce the influence of easy background examples and focus learning more on difficult cases.

We also use 20 percent copy-paste augmentation.

This increases the presence of underrepresented pathological regions during training without requiring us to collect new radiographs.

Our ablation study shows that when copy-paste augmentation is removed, mAP at 0.5 decreases from 40.10 percent to 37.70 percent.

So we observed a 2.40 percentage-point decrease.

This supports the idea that targeted augmentation is contributing meaningfully to rare-lesion detection.

# Slide 17 — Experimental Setup

What to say:

Now I will briefly describe the experimental setup.

We implemented the system using PyTorch 2.0.1.

The experiments were performed on an NVIDIA RTX 3050 with 8 GB memory.

We used five-fold cross-validation for development.

For reproducibility, we used deterministic algorithms and a fixed random seed of 42.

For classification, we report AUROC, F1, sensitivity, and specificity.

For detection, we report AP at IoU 0.5 and the overall mAP at 0.5.

So we evaluate the two stages separately according to their respective tasks.

# Slide 18 — Classification Results

What to say:

Now let us look at the classification performance.

Our DERNet achieved an AUROC of 91.03 percent.

The F1 score is 83.09 percent.

Sensitivity is 84.91 percent, and specificity is 81.68 percent.

Compared with the individual backbones and other reported baselines in our table, DERNet gives the strongest overall AUROC and F1 performance.

For this project, sensitivity is particularly important because Stage 1 acts as a screening gate.

So the purpose of DERNet is not simply to maximize one general metric. We want a model that is able to identify abnormal studies reliably before sending them to the localization stage.

The weighted voting therefore helps harmonize different backbone biases.

# Slide 19 — Detection Benchmark

What to say:

This slide shows the detailed detection comparison across all seven lesion categories.

We report AP for each lesion class and also the overall mAP at 0.5.

Our customized YOLO11-L achieved 40.10 percent mAP@0.5.

For some individual classes, the performance is stronger.

For example, Surgical Implant reaches 74.10 percent AP, Spondylolisthesis reaches 54.80 percent, and Foraminal Stenosis reaches 41.40 percent.

At the same time, some categories remain much more difficult.

For example, the Other category has an AP of only 2.99 percent.

So this table is important because it shows that aggregate performance alone does not tell the whole story. Different lesion types have very different levels of difficulty.

# Slide 20 — Ablation Study

What to say:

This slide is about understanding which components actually contribute to the detector.

We tested the effect of removing individual components.

Removing copy-paste augmentation reduces mAP to 37.7 percent, which is a 2.40 percentage-point decrease.

Removing Mosaic augmentation gives 37.1 percent, which is a 2.94 percentage-point decrease.

Removing the C2PSA attention module reduces mAP to 38.5 percent.

Removing focal loss reduces it to 38.9 percent.

And removing task-aligned assignment gives 39.2 percent.

So this ablation tells us that multiple components contribute to the final detector, with copy-paste and Mosaic having particularly strong effects in these experiments.

# Slide 21 — Explainable AI: Saliency Map

What to say:

After measuring predictive performance, we also wanted to understand what the model is actually looking at.

The first explainability method is the Saliency Map.

The reported mean X-IoU is 0.61.

The visualizations show that the highlighted regions overlap with lesion regions or relevant vertebral boundaries.

This is important because good numerical performance alone does not tell us whether a model is making decisions for meaningful anatomical reasons.

At the same time, I want to emphasize that explainability is not the same as clinical validation.

It is evidence that helps us inspect model behavior, but it does not replace expert evaluation.

# Slide 22 — Explainable AI: Grad-CAM

What to say:

The second explainability method is Grad-CAM.

Here the mean X-IoU is 0.64.

The heatmaps generally align with the regions that YOLO11-L localizes.

This gives us another perspective on whether the model is focusing on clinically meaningful image regions.

Compared with the saliency map, Grad-CAM gives a more high-level feature-activation view.

So using both methods allows us to examine model attention from different perspectives.

Again, I would treat this as evidence of anatomical grounding, rather than as proof of clinical correctness.

# Slide 23 — Explainable AI: LIME

What to say:

The third method is LIME, or Local Interpretable Model-agnostic Explanations.

Unlike Grad-CAM, LIME focuses on explaining individual predictions using local importance regions.

In our examples, the highlighted regions mainly correspond to meaningful spinal structures rather than random background areas.

Together, Saliency Map, Grad-CAM, and LIME give us three complementary perspectives.

The main purpose is to check whether the model's decision is visually connected to reasonable anatomical regions.

So the XAI part supports transparency and analysis of model behavior.

# Slide 24 — Computational Efficiency & Staged Inference

What to say:

Now we come to one of the main motivations of the cascade: computational efficiency.

DERNet requires about 15.4 GFLOPs, uses around 0.9 GB memory, and has a typical latency of about 120 milliseconds.

The YOLO11-L detector is much heavier, with about 74.6 GFLOPs, 1.8 GB memory, and approximately 350 milliseconds latency.

So the important idea is not that YOLO11-L is lightweight.

Actually, it is not.

The idea is that we do not need to run it on every study.

DERNet screens the complete set first, and YOLO11-L is activated only for images that are flagged as abnormal.

This staged design can reduce the average computational burden and is therefore more appropriate for resource-constrained deployment.

# Slide 25 — Error Analysis

What to say:

This slide focuses on our error analysis.

Here, I would like to move beyond the main performance numbers and think about where the system can still fail.

In a medical imaging system, errors can happen in different ways.

For example, the model may produce a false positive because normal anatomical structures resemble pathological regions.

Or it may produce a false negative when a lesion is extremely small, visually ambiguous, or poorly represented in the training data.

This analysis is important because our goal is not only to improve the average score.

We also want to understand why the model makes mistakes and which lesion categories require further improvement.

[Important: The text extraction from your uploaded PowerPoint does not expose the detailed visual contents of this Error Analysis slide, so I would not invent specific examples that are not actually shown on your slide.]

# Slide 26 — Discussion, Limitations & Future Work

What to say:

Before finishing, I would like to discuss the limitations of the current work.

First, this study uses a single-source dataset, so external validation across different hospitals and imaging environments is still needed.

Second, rare categories remain difficult.

Third, we do not currently analyze longitudinal patient radiographs.

And finally, broader deployment evaluation is still necessary.

For future work, we are interested in multi-center validation, better coverage of rare lesions, longitudinal radiographic analysis, and broader deployment benchmarking.

One important point is that this work is intended as a screening and localization framework for spinal X-rays.

It is not intended to replace MRI or clinical diagnosis.

# Slide 27 — Conclusion & Key Takeaways

What to say:

So, to summarize our work:

First, DERNet provides a high-sensitivity image-level screening gate using three complementary CNN models.

Second, customized YOLO11-L performs fine-grained multi-scale lesion localization after abnormal routing.

Third, focal loss and copy-paste augmentation are used to address the strong class imbalance.

Fourth, Saliency Map, Grad-CAM, and LIME provide complementary evidence that model attention is related to spinal pathology.

And finally, the staged design allows the system to spend expensive computation only when detailed localization is needed.

Overall, our goal was to develop not simply a more accurate detector, but a more practical and compute-aware workflow for spinal lesion analysis in resource-constrained settings.

# Slide 28 — Thank You

What to say:

That brings me to the end of my presentation.

Ma’am, thank you very much for your time, your attention, and your valuable guidance.

I am especially grateful that you agreed to represent and present our work at MIRASOL.

As an undergraduate researcher, this opportunity is very meaningful to me, and I truly appreciate your support.

Thank you again, ma’am.

I would be very happy to hear your feedback, suggestions, or any questions you may have.