## Slide 1
MICCAI 2026 • 3RD MIRASOL WORKSHOP (SUBMISSION #74)
A Sensitivity-Gated Cascade for Compute-Efficient Spinal Lesion Detection in Resource-Constrained Settings
Prosenjit Mondol¹ • Samrat Kumar Dey² • Arpita Howlader¹ ¹Faculty of CSE, Patuakhali Science and Technology University • ²Bangladesh Open University
91.03%
Screening AUROC
DERNet binary triage gate
40.10%
Detection mAP@0.5
Customized YOLO11-L detector
15.4 GFLOPs
CPU Screening Cost
120 ms latency; protects MRI slots
Notes: Good afternoon Dr. Guevara! Thank you so much for meeting today. Our research addresses a vital clinical problem in resource-constrained clinics: how to transform standard, accessible 2D X-rays into a reliable, compute-efficient triage filter so that scarce MRI capacity is preserved strictly for critical spinal cases.

## Slide 2
MIRASOL • MICCAI 2026 | SUBMISSION 74 | CLINICAL SETTING
Clinical Background: The 2D Spinal Radiograph Dilemma
02
Anatomical Superposition in 2D Space
• Complex 3D bone geometry is compressed into a flat 2D projection, masking micro-structural changes.
• Critical spinal pathologies (foraminal stenosis, disc narrowing) occupy tiny fractions of the image (<1% FOV).
• High inter-observer variability among radiologists reading dense workloads.
• Delayed diagnosis elevates the risk of permanent, irreversible neurological sequelae.
The Resource Gap in Rural & Low-Income Clinics
• MRI is the clinical gold standard, but machines are geographically scarce and financially prohibitive.
• Standard 2D radiographs remain the primary accessible screening tool across district health centers.
• Rural clinics lack high-end GPU workstations needed to execute heavy neural networks.
• Urgent Need: A staged, CPU-executable AI system that filters normal studies upfront and prioritizes scarce MRI appointments.
Notes: Dr. Guevara, with your deep background in MRI physics, you know how prohibitive scanner access can be. In developing areas, 2D X-rays are ubiquitous, but visual superposition makes subtle lesions easy to miss. Our goal is to give clinicians an automated, reliable gatekeeper that maximizes 2D X-ray utility.

## Slide 3
MIRASOL • MICCAI 2026 | SUBMISSION 74 | BENCHMARK DATASET
VinDr-SpineXR: Long-Tailed Distribution & Imbalance
03
10,466
Total Radiographs
8,389 Train (5-Fold CV) | 2,077 Test
46.9 : 1
Imbalance Ratio
Osteophytes (82.1%) vs Collapse (1.8%)
< 1% FOV
Minute Lesion Scale
<32×32 px on normalized 640×640 grid
Lesion Category | Code | Annotation Share (%) | Clinical Impact
Osteophytes | LT6 | 82.1% (12,556 boxes) | Dominant majority class; high risk of model bias
Disc Space Narrowing | LT2 | 6.0% | Subtle inter-vertebral height collapse
Surgical Implants | LT10 | 2.8% | High contrast metallic hardware
Foraminal Stenosis | LT4 | 2.5% | Extremely minute boundary narrowing (<0.25% FOV)
Vertebral Collapse | LT11 | 1.8% (268 boxes) | Critical minority fail-safe; causes irreversible trauma
Notes: The dataset distribution exposes a massive engineering challenge: a 46.9:1 class skew. Osteophytes represent 82% of all bounding boxes, whereas vertebral collapse is just 1.8%. If a monolithic model is trained naively, it simply predicts osteophytes and ignores rare pathologies.

## Slide 4
MIRASOL • MICCAI 2026 | SUBMISSION 74 | METHODOLOGY OVERVIEW
Proposed Cascaded Framework: Structural Decoupling
04
1. Adaptive Preprocessing
• Raw radiographs ingested at 640×640×3.
• CLAHE equalizes exposure across different X-ray machines.
• Clip limit prevents noise amplification in dense bone.
• Prepares clean, normalized inputs for both stages.
2. Stage 1: DERNet Gate
• Heterogeneous ensemble: DenseNet121 + EfficientNetV2-S + ResNet50.
• Lightweight CPU execution: 15.4 GFLOPs, 120 ms latency.
• Tuned decision threshold: tau* = 0.4787.
• Normal studies exit early; abnormal studies are routed forward.
3. Stage 2: YOLO11-L
• Triggered only on flagged abnormal radiographs.
• C2PSA spatial attention suppresses background artifacts.
• PANet feature fusion captures minute lesions.
• Predicts fine-grained bounding boxes across 7 lesion classes.
Notes: Here is the core thesis of the paper: structural decoupling. Rather than forcing a monolithic detector to perform screening and localization simultaneously, we decouple the pipeline: DERNet screens everyone quickly with high sensitivity, and only abnormal studies trigger the computationally heavier YOLO11-L detector.

## Slide 5
MIRASOL • MICCAI 2026 | SUBMISSION 74 | DATA PIPELINE
Adaptive Preprocessing: CLAHE Optimization
05
Mathematical Formulation (Eq. 1)
I'(i, j) = β · [ ( CDF_Ωk(I(i, j)) - CDF_min ) / ( |Ωk| - CDF_min ) ]
• Tile Grid (Ωk = 8×8): Defines local contextual regions to calculate Cumulative Distribution Functions.
• Dynamic Range Scaling (β = 255): Rescales normalized local intensities back to standard 8-bit image depth.
• Clip Limit (τ = 2.0): Suppresses local contrast over-amplification, capping noise in homogeneous vertebral bone.
Why Standard Equalization Fails in X-Rays
• Global histogram equalization over-enhances background scatter and bone marrow noise, generating false-positive lesions.
• CLAHE operates locally to amplify micro-contrast specifically around cortical bone margins.
• Reveals minute osteophytes and subtle disc space narrowing obscured by uneven exposure across hospital scanners.
• Crucial foundation before feeding images into downstream convolutional backbones.
Notes: In radiograph processing, scanner variability is notorious. We use CLAHE with an 8x8 tile grid and a clip limit of 2.0. The clip limit is critical: it prevents over-amplifying noise in dense bone while sharpening subtle lesion edges.

## Slide 6
MIRASOL • MICCAI 2026 | SUBMISSION 74 | TRIAGE GATE
Stage 1: DERNet Heterogeneous Ensemble
06
DenseNet121 (ω₁ = 0.42)
• Highest assigned fusion weight in the ensemble.
• Dense layer concatenation enables multi-scale feature reuse.
• Specialized in capturing fine textural anomalies along bone boundaries.
• Crucial for detecting small, subtle osteophytes.
EfficientNetV2-S (ω₂ = 0.32)
• Primary specificity driver (achieves 91.12% standalone specificity).
• Fused-MBConv layers optimize parameter efficiency.
• Suppresses false positives across mid-scale lesions (32×32 to 96×96 px).
• Ablation: Removing it triggers +19 false positives (-1.78% specificity).
ResNet50 (ω₃ = 0.26)
• Recall fail-safe against severe anatomical collapse.
• Deep residual pathways detect gross macroscopic dislocations.
• Ablation: Excluding ResNet50 yields +20 false negatives (-1.99% sensitivity).
• Guarantees high-risk pathologies are not filtered out.
Notes: DERNet synergizes three complementary inductive biases: DenseNet brings textural sensitivity for marginal bone spurs; EfficientNetV2-S is our specificity anchor to suppress false positives; and ResNet50 acts as our recall fail-safe against catastrophic fractures.

## Slide 7
MIRASOL • MICCAI 2026 | SUBMISSION 74 | DECISION OPTIMIZATION
Probabilistic Soft-Voting & Threshold Calibration
07
Threshold Grid Search Optimization
τ* = arg max_{τ ∈ [0.35, 0.60]} F₁(τ) F₁(τ) = 2·TP(τ) / [ 2·TP(τ) + FP(τ) + FN(τ) ]
• Exhaustive search over [0.35, 0.60] with step size Δτ = 0.0002.
• Calibrated strictly on training folds to maximize cross-validation F1.
• Optimal threshold locked at τ* = 0.4787.
• Weighted soft-voting ensemble probability: P_ens = 0.42·P_Dense + 0.32·P_EffNet + 0.26·P_ResNet
Triage Decision Rule & Clinical Routing
• Decision Rule 1: If P_ens ≥ 0.4787 → Flag as Abnormal → Route immediately to Stage 2 (YOLO11-L).
• Decision Rule 2: If P_ens < 0.4787 → Flag as Normal → Exit pipeline early without consuming detector compute.
• Weight grid search (Δω = 0.01, Σω = 1.0) confirmed Ω = [0.42, 0.32, 0.26] as the global Pareto optimum.
• Harmonizes individual model biases into a single high-precision gatekeeper.
Notes: We calibrated the triage gate systematically: grid search identified tau* = 0.4787 as the optimal threshold maximizing the 5-fold cross-validation F1-score. Any study scoring above 0.4787 is routed to YOLO11-L; all others exit immediately as normal.

## Slide 8
MIRASOL • MICCAI 2026 | SUBMISSION 74 | CLASSIFICATION BENCHMARK
Triage Results: DERNet Outperforms Established Baselines
08
91.03%
AUROC
+2.42% over VinDr
83.09%
F1-Score
Optimal harmonic mean
84.91%
Sensitivity
Minimizes missed lesions
81.68%
Specificity
Filters normal studies
Method / Architecture | AUROC (%) | F1 (%) | Sensitivity (%) | Specificity (%)
EfficientNetV2-S | 89.44 | 79.34 | 70.80 | 91.12
ResNet50 | 88.88 | 80.15 | 82.72 | 78.13
DenseNet121 | 86.93 | 79.55 | 80.39 | 79.32
VinDr Ensemble (Baseline) | 88.61 | 81.06 | 83.07 | 79.32
HealNNET | 88.84 | 81.20 | — | —
DERNet (Proposed Cascade Gate) | 91.03 | 83.09 | 84.91 | 81.68
Notes: Table 1 benchmarks DERNet against published baselines. Notice how individual backbones exhibit distinct trade-offs: EfficientNetV2-S has high specificity (91.12%) but lower sensitivity (70.80%). Our weighted soft voting harmonizes them, achieving 91.03% AUROC and 83.09% F1.

## Slide 9
MIRASOL • MICCAI 2026 | SUBMISSION 74 | LESION LOCALIZATION
Stage 2: Customized YOLO11-L for Minute Lesions
09
Backbone: CSP-Darknet + C2PSA
• Cross-Stage Partial connections ensure gradient flow while reducing redundant compute.
• C2PSA (Cross-Stage Partial with Spatial Attention) preserves high-frequency edge gradients.
• Suppresses background anatomical noise across lung and pelvis regions.
• Secures 41.40% AP on minute foraminal stenosis.
Neck: PANet Feature Fusion
• Path Aggregation Network with bidirectional feature pyramid flow.
• Fuses shallow high-resolution spatial maps with deep semantic maps (N3 to N5).
• Preserves fine-grained pathology signals (<0.25% FOV, <32×32 px).
• Prevents small lesion coordinates from vanishing during successive pooling.
Head: Multi-Scale Detection Grids
• Triple-grid prediction heads:
• • 80×80: Dedicated to minute bone spurs and stenosis.
• • 40×40: Mid-scale disc space abnormalities.
• • 20×20: Macro-scale vertebral dislocation.
• Filtered via decoupled Non-Maximum Suppression (NMS).
Notes: For Stage 2, we customized YOLO11-L with C2PSA spatial attention and PANet feature fusion. The 80x80 spatial head is essential: it gives us fine spatial granularity to bound tiny lesions that occupy less than 0.25% of the field of view.

## Slide 10
MIRASOL • MICCAI 2026 | SUBMISSION 74 | IMBALANCE ENGINEERING
Loss Design & Targeted Copy-Paste Augmentation
10
Composite Loss Objective (Eq. 3)
L_total = λ_box·L_CIoU + λ_cls·L_Focal + λ_dfl·L_DFL FL(p_t) = -α_t · (1 - p_t)^γ · log(p_t)
• Standard COCO loss weights: λ_box = 7.5, λ_cls = 0.5, λ_dfl = 1.5.
• Empirically tuned focal parameters: γ = 2.0, α_t = 0.25.
• Down-weights easy, background negative samples and majority osteophytes.
• Focuses back-propagation gradients on hard-to-detect rare minority classes.
20% Copy-Paste Augmentation Ablation
40.10%
With Augmentation
Full pipeline
37.70%
Without Augmentation
Baseline ablation
Empirical Validation (+2.40% mAP@0.5 Gain): • Ablating copy-paste drops detection accuracy by 2.40%. • Reinforces rare pathologies (vertebral collapse, implants) during training. • Synthesizes realistic pathological co-occurrences without manual radiograph acquisition.
Notes: To counter the 46.9:1 skew, we tuned the focal loss (gamma=2.0, alpha=0.25) and applied 20% copy-paste augmentation. Our ablation shows this copy-paste step delivers an immediate +2.40% jump in mAP@0.5, lifting performance from 37.7% to 40.10%.

## Slide 11
MIRASOL • MICCAI 2026 | SUBMISSION 74 | DETECTION RESULTS
Detection Benchmark: Evaluation Across 7 Lesion Classes
11
Method | LT2 | LT4 | LT6 | LT8 | LT10 | LT11 | LT13 | mAP@0.5
RetinaNet | 14.53 | 25.35 | 41.67 | 32.14 | 65.49 | 51.85 | 5.30 | 28.09
Faster R-CNN | 22.66 | 35.99 | 49.24 | 31.68 | 65.22 | 51.68 | 2.16 | 31.83
Sparse R-CNN | 20.09 | 32.67 | 48.16 | 45.32 | 72.20 | 49.30 | 5.41 | 33.15
VinDr-SpineXR | 21.43 | 27.36 | 34.78 | 41.29 | 62.53 | 43.39 | 4.16 | 33.56
EGCA-Net | 22.36 | 29.75 | 36.73 | 44.69 | 66.58 | 50.41 | 2.09 | 36.09
YOLO12 | 24.60 | 38.90 | 38.10 | 40.20 | 68.40 | 55.50 | 3.04 | 38.40
YOLO26 | 23.60 | 34.90 | 38.40 | 37.50 | 67.30 | 43.30 | 3.35 | 35.50
Ours (YOLO11-L) | 26.70 | 41.40 | 40.60 | 54.80 | 74.10 | 51.20 | 2.99 | 40.10
(*) LT2: Disc Space Narrowing | LT4: Foraminal Stenosis | LT6: Osteophytes | LT8: Spondylolisthesis | LT10: Surgical Implant | LT11: Vertebral Collapse | LT13: Other Lesions.
Notes: Table 2 is the core localization benchmark from the camera-ready paper. Our customized YOLO11-L achieves 40.10% mAP@0.5, outperforming RetinaNet, Faster R-CNN, Sparse R-CNN, and EGCA-Net. Notice how strongly it performs on subtle classes like Foraminal Stenosis (41.40%) and Spondylolisthesis (54.80%).

## Slide 12
MIRASOL • MICCAI 2026 | SUBMISSION 74 | CLINICAL INTERPRETABILITY
Explainable AI (XAI): Quantitative Anatomical Grounding
12
Saliency Maps (X-IoU: 0.61)
• Pixel-level gradient attribution maps.
• Quantitative overlap: Mean X-IoU of 0.61 with radiologist bounding boxes.
• Confirms DERNet triage focuses directly on vertebral cortical bone margins.
• Proves the triage gate is not guessing based on background soft tissue.
Grad-CAM (X-IoU: 0.64)
• Class-activation heatmaps from deep convolutional features.
• High alignment: Mean X-IoU of 0.64 with ground truth annotations.
• Verifies high-activation centers align directly with genuine lesion pathology.
• Shows high spatial consistency with YOLO11-L detection boxes.
LIME Local Superpixels
• Perturbation-based local surrogate modeling.
• Isolates image regions driving individual backbone decisions.
• Validates that decisions are anchored to bony landmarks, not scanner artifacts.
• Critical for establishing clinical adoption trust in emergency centers.
Notes: In medical AI, high metrics alone do not build clinical trust. We introduced quantitative X-IoU to measure overlap between heatmaps and expert radiologist boxes. Achieving 0.61 on Saliency and 0.64 on Grad-CAM proves our pipeline looks at true cortical margins and lesion sites.

## Slide 13
MIRASOL • MICCAI 2026 | SUBMISSION 74 | COMPUTE PROFILING
Computational Efficiency: Practical CPU Screening
13
Pipeline Stage | Model | GFLOPs | RAM Footprint | CPU Latency
Stage 1: Screening Triage (All Studies) | DERNet Ensemble | 15.4 GFLOPs | 0.9 GB RAM | 120 ms
Stage 2: Localization (Abnormal Only) | YOLO11-L | 74.6 GFLOPs | 1.8 GB RAM | 350 ms
Why Staged Inference Matters for Clinics
• Running a monolithic 74.6 GFLOP detector across 100% of routine screening X-rays overwhelms basic clinic CPUs.
• DERNet filters out the bulk of normal studies at just 15.4 GFLOPs and 120 ms.
• The compute-heavy YOLO11-L is invoked only when abnormalities are confirmed.
• Enables real-time performance on ordinary desktop computers without dedicated GPUs.
Equitable MRI Resource Rationing
• Converts low-cost, widely accessible 2D X-rays into a smart prioritization gate.
• Ensures patients with subtle but dangerous lesions are flagged early for MRI confirmation.
• Prevents emergency queue clogging by normal studies.
• Directly aligns with the mission of MICCAI MIRASOL: advancing healthcare in resource-constrained environments.
Notes: As someone who optimizes C and C++ algorithms for compute efficiency, Dr. Guevara, you will appreciate this: by running DERNet at just 15.4 GFLOPs, normal cases exit in 120 milliseconds. The 74.6 GFLOP detector only runs on flagged abnormalities. That is why it runs smoothly on standard clinic CPUs.

## Slide 14
MIRASOL • MICCAI 2026 | SUBMISSION 74 | SUMMARY & WRAP-UP
Conclusion & Presentation Takeaways
14
Key Takeaways for Attendees in Strasbourg
• Structural Decoupling: Gating screening triage from localization resolves the sensitivity-specificity trade-off under extreme 46.9:1 class imbalance.
• State-of-the-Art Benchmarks: Achieves 91.03% AUROC for screening and 40.10% mAP@0.5 for lesion localization on VinDr-SpineXR.
• Rigorous XAI Validation: Saliency and Grad-CAM overlays (0.61–0.64 X-IoU) confirm activations anchor to genuine cortical margins and pathology.
• Strict CPU Efficiency: 15.4 GFLOPs screening enables real-time deployment on clinic CPUs, ensuring scarce MRI slots are strictly rationed.
• Open Science & Reproducibility: Code, models, and web demo released at https://cimilab.github.io/DERNet/.
Thank You, Dr. Guevara!
We are deeply grateful for your mentorship and representation at MICCAI 2026.
Presentation Date: Sunday, Sept 27 10:30 – 15:30 (Strasbourg)
Online Repository: https://cimilab.github.io/DERNet/
Discussion & Feedback
Notes: Thank you so much, Dr. Guevara! That concludes our technical overview. How did that flow feel to you? Do you feel the narrative comes across clearly for the attendees in Strasbourg? I would love to answer any questions or hear your suggestions.